**DEPARTMENT OF PERIODONTICS**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **S.N** | | **NAME** | **SPECIFICATION** | | | **QUANTITY** | **APPRX. PRICE/UNIT (RS)** | **TOTAL** |
| **1** | | **PIEZO-SURGERY UNIT** | **Brand: NSK, Model: Variosurg 3, 3 modes ( SURG, ENDO, PERIO), Frequency: 28-32 kHz, flow rate: 10-80 ml/min, Dimension: (265×220×100 mm)**  **Maximum output 25W, Basic HS kit; Hand piece stand, irrigation tube (5pc)** | | | **1** | **330000** | **330000** |
| **2** | | **LASER** | **MODEL: Epic x, Brand: Biolase, Laser type: Soft Tissue, Power: 10W, Wavelength: 940 + 10 nm, Power modes: Continuous, Pulse Modulation, Aiming beam: Laser diode, Dimensions: 11.18cm×14.48cm×16.51cm, Weight: 1.13 kg.** | | | **1** | **385000** | **385000** |
| **3** | | **IMPLANT RETRIEVAL KIT** | **Cover & Abutment Screw Remover, Abutment Hex Remover, Screw remover, Fixture Remover (Remover, Wrench), Screw Tap Repair.** | | | **1** | **52000** | **52000** |
| **4** | | **SINUS LIFT KIT** | **Model: DASK (Dentium advanced sinus kit): DASK drill (Crestal approach & Lateral approach), Stopper, Sinus Elevation Instruments.** | | | **1** | **75000** | **75000** |
| **5** | | **MICROSURGICAL LOUPES** | **Brand: Zeiss, Model: EyeMag Pro F, Titanium eye glass frame with head band, Magnification:2.5-3.5** | | | **1** | **87000** | **87000** |
| **6** | | **BONE EXPANSION KIT** | **Brand: Osung, Bone Expander Hand Kit & Engine Kit.** | | | **1** | **50000** | **50000** |
| **7** | | **IMPLANT MAINTENANCE KIT** | **1.Brand: osung, implant curettes, set of 5 instruments( ICGR1-2, 5-6, 7-8, 11-12, 13-14).** | | | **1 each** | **17000** | **17000** |
| **8** | **Bone Crusher** | | | **Bone crusher & mallet kit** | **1** | | **17700** | **17700** |